## Sustainability Vision Statement for Building/Project Scope

6/8/10

The “Project” will be a model of environmental, social and economic sustainability and have a positive impact on the campus and surrounding community.  The project will actively advance the University's commitment to state and national sustainability leadership in promoting and practicing the following principles throughout the life of the building and site:

- Educates and involves building occupants in sustainable features to further conservation of natural resources through personal action.

- Achieves a minimum standard of LEED Silver certification and strives to achieve the highest possible level of certification.

- Utilizes integrated building and site design processes from the earliest stages of design   throughout construction.

- Considers true cost of ownership; including initial cost, health and operating costs in life cycle costs analysis of building systems and site into decision making.

- Balances building occupant health and safety with efficiency goals.

- Significantly reduces campus greenhouse gas emissions by maximizing energy efficiency and on-site renewable energy.

- Implements energy management practices and processes such as optimizing operating schedules and segregating building functions to maximize energy performance.

- Encourages innovative technology that reduces negative environmental impact of the building and site, regardless of direct economic payback.

- Encourage commissioning that verifies the performance of building systems and site components.

- Implements a Measurement and Verification program that monitors energy performance and provides for appropriate modifications throughout the building life.

- Design for maximum flexibility which includes long-term efficient use of space and infrastructure by designing with consideration of changing future uses, maximizing space utilization and designing public spaces for community use.

The design and construction team, occupants and operational personnel will fully participate in these goals by identifying design, construction, maintenance and operational strategies that achieve sustainability throughout the design, construction, operation and maintenance of the building and site.